Training Outline

SpectraSite

Opto 22 Credentials

Purpose of Opto 22 monitoring equipment

Interface Descriptions


Dry Contact – Normally-Closed ONLY


Serial Interface – FlashTechnology ‘Eagle’ compatible untis

Opto 22 system components


24-volt power supply


Batteries


Modem



Power-supply functions



Modem functions


Opto 22 I/O unit



Brain



Modules

NOC – SNMP

Communications possibilities


Analog Cell Modem


GSM Modem


POTS line

Physical Installation


H-Frame Mounting


Grounding


AC Line Power


Flash Interface



Flash Technology




Serial




Dry contact



Other Equipment




FTM-130 (FlashTech) universal interface


Gate Interface

Personality Installation (location-specific programming) (Demo)


EIEIO


Web Browser

Kernel Upgrade


Requires Serial Connection


2 Ways to put in boot mode (Ethernet Boot-to-loader command  / Jumper)


Don’t do it for the first time in the field

